Curb Ramp Inspection	ITD 0288   (Rev. 10-14)

itd.idaho.gov

Send a completed copy of this form to the ITD Office of Civil Rights.

| Key Number |  | Project Number |  | Project Name |  |  | Ramp ID Number |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| District | City |  |  |  | County | Highway |  | Milepost |
| Inspection Date |  |  | Inspected By (Print) |  |  |  | *Technical Infeasibility |  |
|  |  |  |  |  |  |  | Yes No |  |

| Ramp Location | Location in Intersection | Curb Ramp Type |
| --- | --- | --- |
| Intersection Mid-block | N E NW NE S W SW SE | Parallel Perpendicular Combined |
| Describe Ramp Location (details to help locate it, such as “next to gas station”) |  |  |

Note - The elements numbered 1 - 7 below correspond to smart level measurement locations detailed on page two of this form

| Ramp Details | Ramped Area 1 | Ramped Area 2 | Ramped Area 3 | Ramped Area 4 |
| --- | --- | --- | --- | --- |
| Ramp Width (48” minimum) |  |  |  |  |
| - Running Slope (8.3% maximum) |  |  |  |  |
| - Cross Slope (2% maximum) |  |  |  |  |
| - Flare Slope A (10% maximum) |  |  |  |  |
| - Flare Slope B (10% maximum) |  |  |  |  |

| Landing (Turning Space) |  |  |  |
| --- | --- | --- | --- |
| Landing (Turning Space) Provided | Width (48” minimum) | Depth (48” minimum) | 5. Cross Slope (2% maximum - both directions) |
| Yes No |  |  |  |

| Detectable Warning Surface |  |  |
| --- | --- | --- |
| Detectable Warning Depth (24” minimum) | Detectable Warning Spans Curb Cut | Truncated Dome Spacing Correct |
|  | Yes No | Yes No |
| Within 5’ of the Curb Line/Grade Break | Color Contrast (e.g., Light on Dark or Dark on Light) |  |
| Yes No | Yes No |  |

| Transition Details |  |  |
| --- | --- | --- |
| Lip Present (> ¼ inch) | 6. Gutter Flowline Slope at Ramp (2% maximum) | 7. Gutter Counter Slope (5% maximum) |
| Yes No |  |  |

| Pedestrian Crossing Details |  |  |  |
| --- | --- | --- | --- |
| Pedestrian Signal Pushbutton | Pushbutton Height within 15" to 48" | Pushbutton within 10” of clear space | Crosswalk Clear Space |
| Yes No | Yes No | Yes No | Yes No |

| Comments - *If construction of a compliant curb ramp is not technically feasible, explain each specific reason) |  |
| --- | --- |
| Inspector’s Signature | Date |

ADA Ramp Inspection Details

Detectable Warning (Truncated Domes)

A ramp gradient measurement is required at locations marked with smart level below

Perpendicular Curb Ramp - 1 Ramped Area

Landing (Turning Space)

Tur

5

1

2

Ramp

Flare

Flare

3

4

6

Gutter Counter Slope

Gutter Flowline

Ramp Transition location–no lip >1/4”should be present

7

Parallel Curb Ramp - 2 Ramped Areas

Combination Curb Ramp - 3 Ramped Areas

Landing

(Turning Space)

Landing

(Turning Space)

Ramp

Ramp

Ramp

Ramp

Flare

Flare

Ramp

Additional Resources

For detailed information on design parameters, please reference ITD’s standard drawings online at:

http://www.itd.idaho.gov/design/StandardDrawings.htm